## Chesterfield
CONUM | SCGRID | LAT_dec | LONG_dec | TOPO | ELEV | OWNER | OWNER_WELL_ID | LOCATION | USE | DEPTH_D | DEPTH_C | DIAM_1 | DIAM_2 | OH_CAS | SCREEN_T | SCREEN_B | DRILL_YR | DRILL_MO | YIELD | YIELD_YR | G_LOGS | D_LOGS | P_TEST | CHEM | WL | WL_YR | DRILLER | REMARKS
CTF-1 | 23H-d1 | 34.6515 | -80.3879 | Jefferson | 440 | Town of Jefferson |  |  | PS | 205 |  | 8 |  |  |  |  | 1934 |  | 25 |  |  | 0 | 0 | C |  |  | Harwood-Beebe | Temp 64F.
CTF-2 | 22J-j3 | 34.4671 | -80.2579 | Bethune | 460 | Town of McBee |  |  | PS | 188 |  | 10 |  |  | 175 | 188 | 1946 | 3 | 45 | 1946 |  | 0 | 0 | C | 160 | 1946 | Hickory | Pumping WL 185' @ 48 gpm (1-day). Temp 66F.
CTF-3 | 22J-j4 | 34.4674 | -80.2579 | Bethune | 460 | Town of McBee |  |  | PS | 190 |  | 6 | [6 empty] | 10 |  |  | 0 | 0 | P |  |  | Davis | Temp 66F.
CTF-4 | 22J-j5 | 34.4676 | -80.2581 | Bethune | 460 | Town of McBee |  |  | PS | 190 |  | 6 | [6 empty] | 10 |  |  | 0 | 0 |  |  |  | Davis
CTF-5 | 17G-n1 | 34.7018 | -79.8867 | Cheraw | 147 | Wannamaker |  | Cheraw | DOM | 24 | [11 empty] | 0 | 0 |  | 25 | 1953
CTF-6 | 18H-l7 | 34.6268 | -79.9401 | Cheraw | 140 | Fish & Wildlife Service |  | Cheraw | DOM | 16 |  | 30 | [9 empty] | 0 | 0 | P | 16 | 1953 |  | Dug well. Hardness 18 mg/L. Fe 0.1 mg/L.
CTF-7 | 18H-l6 | 34.6268 | -79.9401 | Cheraw | 140 | Fish & Wildlife Service | #5 | Cheraw | ABN | 28 | [6 empty] | 1940 |  | 4 |  |  | 0 | 0 | P |  |  |  | Dug well.
CTF-8 | 18H-l4 | 34.6268 | -79.9401 | Cheraw | 140 | Fish & Wildlife Service | #3 | Cheraw | DOM | 168 |  | 6 |  |  | 158 | 168 | 1944 |  | 15 |  |  | 0 | 0 |  | 34 | 1953 | Hickory
CTF-9 | 21J-m1 | 34.4585 | -80.2117 | Lake Robinson | 450 | Sandhill Farms |  | McBee | DOM | 175 |  | 2 |  |  |  |  | 1952 |  |  |  |  | 0 | 0
CTF-10 | 21J-h1 | 34.4696 | -80.2053 | Lake Robinson | 415 | Sandhill Farms |  | McBee | DOM | 210 |  | 3 | 2 | [8 empty] | 0 | 0
CTF-11 | 21J-l1 | 34.4543 | -80.1956 | Lake Robinson |  | Thomas Turkey Farm |  | McBee | STK | 163 |  | 2 |  |  |  |  | 1954 | 12 |  |  |  | 0 | 0 |  | 130 |  | McKenzie
CTF-12 | 21J-k1 | 34.4663 | -80.1706 | Lake Robinson |  | Thomas Turkey Farm |  | McBee | STK | 140 |  | 2 | [9 empty] | 0 | 0 |  | -10 | 1955 |  | Temp 65F. Flowing well (1955).
CTF-13 | 23H-d2 | 34.651 | -80.3862 | Jefferson | 410 | Town of Jefferson |  |  | PS | 190 |  | 6 |  | 20 |  |  | 1953 |  | 30 |  |  | 0 | 0 |  |  |  | Harris
CTF-14 | 23H-g1 | 34.6479 | -80.3865 | Jefferson | 390 | Town of Jefferson |  |  | PS | 150 |  | 6 |  | 20 |  |  | 1953 |  | 15 |  |  | 0 | 0 |  | 43 | 1955 | Harris
CTF-15 | 23H-d3 | 34.6507 | -80.3887 | Jefferson | 440 | Town of Jefferson |  |  | PS | 175 |  | 6 |  | 20 |  |  | 1946 |  | 50 |  |  | 0 | 0 |  |  |  | Harris
CTF-16 | 23H-d4 | 34.6554 | -80.3873 | Jefferson | 395 | Town of Jefferson |  |  | PS | 420 |  | 8 |  | 28 |  |  | 1954 | 12 | 50 |  |  | 0 | 0 |  | 12 | 1954 | Harris
CTF-17 | 21J-e1 | 34.4907 | -80.2445 | Lake Robinson | 480 | (Formerly) C. S. McLeod |  | McBee | UNU | 312 | 285 | 8 |  |  | 142 | 285 | 1955 | 2 | 610 | 1955 |  | 1 | 0 |  | 176 | 1955 | Heater | 6 screens. Fe <0.5 mg/L.
CTF-18 | 18H-m1 | 34.621 | -79.9581 | Cash | 200 | L. C. Reid | #1 | Cheraw | DOM | 139 | 125 | 10 |  |  | 49 | 125 | 1954 | 9 | 150 |  | E | 1 | 0 |  |  |  | Heater | Location estimated.
CTF-19 | 18H-m2 | 34.621 | -79.9581 | Cash | 200 | L. C. Reid | #2 | Cheraw | DOM | 147 | 124 | 10 |  |  | 9 | 120 | 1954 | 9 | 80 | 1955 | E | 1 | 0 |  |  |  | Heater | Location estimated.
CTF-20 | 18H-m3 | 34.621 | -79.9581 | Cash | 200 | L. C. Reid | #3 | Cheraw | DOM | 132 | 124 | 8 |  |  | 25 | 124 | 1954 | 10 | 60 |  | E | 1 | 0 |  |  |  | Heater | Location estimated.
CTF-21 | 22H-y1 | 34.5918 | -80.3248 | Angelus |  | W. D. Jordan |  | Angelus | DOM | 45 |  | 6 |  | 27 |  |  | 1947 | 10 | 2 |  |  | 0 | 0 |  |  |  | Heater | Location estimated.
CTF-34 | 19I-g1 | 34.5627 | -80.0623 | Patrick | 180 | Ruthen's Store |  | 1 mile SW of Patrick, off US-1 | DOM | 100 |  | 2 | [6 empty] | 1 | 1955 |  | 0 | 0 | C | Flow | 1955 |  | Temp = 64F.
CTF-37 | 18H-l2 | 34.6268 | -79.9401 | Cheraw | 140 | Dept. of Interior | Fish Hatchery Well 1 | Cheraw | DOM | 24 |  | 20 | [6 empty] | 1 |  |  | 0 | 0 |  |  |  |  | Low Fe. Possibly the same well as CTF-56.
CTF-38 | 18H-l3 | 34.6268 | -79.9401 | Cheraw | 140 | Dept. of Interior | Fish Hatchery Well 2 | Cheraw | DOM | 27 |  | 20 |  |  |  |  | 1962 |  | 3 |  |  | 0 | 0 |  | 7 |  |  | High Fe.
CTF-39 | 18H-l5 | 34.6268 | -79.9401 | Cheraw | 140 | Dept. of Interior | Fish Hatchery Well 4 | Cheraw | ABN | 100 |  | 6 | [9 empty] | 0 | 0 |  |  |  |  | High Fe.
CTF-40 | 21G-b1 | 34.7418 | -80.1859 | Ruby |  | Tenner's Restaurant |  | Ruby | DOM | 248 |  | 6 |  | 203 |  |  | 1945 | 6 |  |  |  | 0 | 0 |  | 103 | 1945 | Hickory | Location estimated.
CTF-44 | 19I-i1 | 34.5635 | -80.0306 | Patrick | 230 | Town of Patrick |  | 1 mile SE of Patrick, off Hwy 102 | PS | 135 | 130 | 6 |  |  | 100 | 130 | 1967 | 4 | 75 | 1967 |  | 1 | 0 |  | 60 | 1967 | Heater
CTF-45 | 19I-d1 | 34.5765 | -80.0501 | Patrick | 185 | Town of Patrick |  | Road 209 | ABN | 110 | 105 | 6 |  |  | 92 | 102 | 1967 | 5 | 20 | 1967 |  | 1 | 0 | P | 50 | 1967 | Heater
CTF-46 | 17I-h1 | 34.5599 | -79.8762 | Cash | 190 | Cash Rural Water Co. |  |  | PS | 99 | 80 | 6 |  |  | 69 | 80 | 1972 | 9 |  |  | G | 0 | 0 |  | 37 | 1972 | Demco
CTF-49 | 19I-w1 | 34.506 | -80.0362 | Patrick | 300 | Plainview Rural Water District | Well 1 | Patrick | PS | 240 | 240 | 6 |  |  | 228 | 238 | 1969 |  | 79 | 1969 |  | 1 | 1 |  | 85 | 1969 | Woodham
CTF-53 | 17I-m1 | 34.5335 | -79.8723 | Society Hill | 140 | Cash Rural Water Co. | Hwy. 52 Well |  | PS | 330 | 328 | 10 | [6 empty] | 125 | 1977 | E, G | 0 | 1 | C | 100 | 1977 | Layne
CTF-55 | 22J-j1 | 34.4671 | -80.2604 | Bethune | 465 | Alligator Rural W&S |  | Sixth Street, McBee | ABN | 359 | 330 | 20 | 10 |  | 214 | 325 | 1973 | 9 | 360 | 2002 | E | 1 | 0 | C | 170 | 1973 | Hartsfield
CTF-56 | 18H-l8 | 34.6268 | -79.9403 | Cheraw | 141 | SCDNR Fish Hatchery |  |  | OBS |  | 23 | [10 empty] | 0 | 0 |  | 16 | 2009 |  | WL monitored by USGS. Possibly same as CTF-37.
CTF-57 | 18H-l1 | 34.6268 | -79.9401 | Cheraw | 141 | SCDNR Fish Hatchery |  |  | OBS |  | 178 | 8 | [9 empty] | 0 | 0 |  | 34 | 2009 |  | WL monitored by USGS.
CTF-58 | 17H-q1 | 34.606 | -79.8859 | Cash | 190 | Cash Rural Water Co. | Road 494 Well |  | PS | 173 | 155 | 6 |  |  | 130 | 150 | 1979 | 11 | 120 | 1991 |  | 1 | 0 | P | 110 | 1980 | Heater
CTF-59 | 17H-n1 | 34.6196 | -79.8906 | Cash | 250 | Cash Rural Water Co. | Elevated tank Well |  | PS | 230 |  | 4 |  |  |  |  | 1989 |  | 27 | 1991 |  | 0 | 0 |  |  |  | Woodham
CTF-60 | 21I-y1 | 34.5124 | -80.2476 | Middendorf | 530 | McLeod Farms |  | McBee | IRR | 490 | 458 | 12 |  |  | 318 | 458 | 1981 | 2 | 600 |  | E, G | 1 | 0 |  |  |  | Berrie | Saprolite at 475. Geologist's log. Samples at SCGS.
CTF-61 | 21I-p1 | 34.5226 | -80.2448 | Middendorf | 485 | Norwood Farms |  | McBee | IRR | 332 | 318 | 16 | 10 |  | 220 | 318 | 1978 | 5 |  |  | E | 0 | 0 |  | 123 |  | Heater | Old USGS well number 600.
CTF-62 | 18G-u1 | 34.6754 | -79.9306 | Cheraw | 185 | Chesterfield Rural Water | Well 1 | Cheraw | UNU | 145 | 135 | 12 | 6 |  | 80 | 125 | 1977 | 8 | 105 | 1977 | E | 1 | 1 | P | 52 | 1977 | Sydnor | Old USGS well number 601.
CTF-63 | 18G-u2 | 34.6779 | -79.9301 | Cheraw | 185 | Chesterfield Rural Water | Well 2 | Cheraw | PS | 155 | 147 | 6 |  |  | 102 | 137 | 1977 | 8 | 147 |  |  | 0 | 0 | C |  |  | Sydnor | Old USGS well number 602.
CTF-64 | 17H-m1 | 34.6196 | -79.8784 | Cash | 150 | Cash Rural Water Co. |  | Cash | UNU | 140 | 70 | 6 |  |  | 59 | 70 | 1972 | 11 | 37 |  |  | 1 | 0 |  | 37 |  | Demco
CTF-65 | 21F-q1 | 34.771 | -80.2248 | Mount Croghan |  | Oasis Estates |  | Mt. Croghan | DOM | 135 | 135 | 6 |  | 104 |  |  | 1978 | 2 | 12 |  |  | 1 | 0 |  | 50 | 1980 | Rivers | Location estimated.
CTF-66 | 17G-x1 | 34.6824 | -79.8981 | Cheraw | 170 | Cheraw Yarn Mills | Well 1 | Cheraw | IND | 40 |  | 22 |  |  |  |  | 1958 |  |  |  |  | 0 | 0 |  |  |  | Anson
CTF-67 | 17G-x2 | 34.6821 | -79.8973 | Cheraw | 170 | Cheraw Yarn Mills | Well 2 | Cheraw | IND | [7 empty] | 1980 |  |  |  |  | 0 | 0 |  |  |  | Harry Tucker
CTF-68 | 17G-x3 | 34.6832 | -79.8981 | Cheraw | 170 | Cheraw Yarn Mills | Well 3 | Cheraw | UNU | 40 |  | 22 | [9 empty] | 0 | 0 |  |  |  | Watson
CTF-69 | 17G-x4 | 34.6832 | -79.8984 | Cheraw | 170 | Cheraw Yarn Mills | Well 4 | Cheraw | UNU | [12 empty] | 0 | 0 |  |  |  | Watson
CTF-70 | 17G-x5 | 34.6829 | -79.8995 | Cheraw | 170 | Cheraw Yarn Mills | Well 5 | Cheraw | UNU | 40 |  | 22 | [9 empty] | 0 | 0 |  |  |  | Watson
CTF-71 | 17G-x6 | 34.6821 | -79.8995 | Cheraw | 170 | Cheraw Yarn Mills | Well 6 | Cheraw | UNU | 40 |  | 22 | [9 empty] | 0 | 0
CTF-73 | 17G-q1 | 34.6849 | -79.8967 | Cheraw | 170 | INA Bearing Co. |  |  | IND | 60 |  |  |  |  | 40 | 50 |  |  | 20 |  |  | 0 | 0
CTF-74 | 21I-y2 | 34.5085 | -80.247 | Middendorf |  | McLeod Farms |  | McBee, 3 miles N on Hwy 145 | IRR | 240 | 240 | 8 |  |  | 200 | 240 | 1990 | 5 | 300 | 1990 |  | 1 | 0 |  | 160 | 1990 | Berrie
CTF-75 | 21J-s1 | 34.4418 | -80.1887 | Lake Robinson |  | McLeod Farms |  |  | IRR | 210 |  |  |  |  | 190 | 210 |  |  | 180 |  |  | 0 | 0
CTF-76 | 23H-s1 | 34.614 | -80.3581 | Angelus |  | Jefferson Turkey |  |  | DOM | 285 |  | 6 |  |  |  |  | 1986 | 5 | 10 |  |  | 0 | 0 |  |  |  | Wiggins
CTF-77 | 22J-j2 | 34.4674 | -80.2581 | Bethune | 475 | Town of McBee |  |  | UNU | 235 |  | 6 |  |  |  |  | 1962 | 6 | 225 |  |  | 0 | 0 |  |  |  | Ferguson
CTF-78 | 19I-w2 | 34.514 | -80.0423 | Patrick | 360 | Plainview Rural WD | Well 2 |  | PS | 250 |  | 4 |  |  |  |  | 1957 |  | 50 |  |  | 0 | 0 |  |  |  | Woodham
CTF-79 | 20J-g1 | 34.4821 | -80.142 | Lake Robinson | 360 | Alligator Rural W&S | Well 2 |  | PS | 358 | 260 | 8 |  |  | 175 | 255 | 1991 | 9 | 250 | 1991 | E, G | 1 | 1 | C | 111 | 1991 | McNeill
CTF-80 | 20I-v1 | 34.4818 | -80.1026 | Patrick | 440 | Alligator Rural W&S | Well 1 | Tank Site on Rd. 29 | PS | 350 | 335 | 8 |  |  | 175 | 330 | 1991 | 9 | 250 | 1991 | E, G | 1 | 1 | C | 116 | 1991 | McNeill
CTF-81 | 17H-f1 | 34.6432 | -79.9116 | Cheraw | 192 | USGS |  | Cheraw State Park | OBS | 244 |  | 2 |  |  | 231 | 244 | 1995 | 7 |  |  | E, G, C | 1 | 1 |  | 86 | 2021 |  | Samples at SCGS.
CTF-82 | 17I-o1 | 34.5374 | -79.9078 | Cash | 205 | Cash Rural Water Co. |  |  | PS | 310 | 207 | 12 | 6 |  | 116 | 202 | 1996 | 1 | 50 | 1996 | E, G | 1 | 1 | C | 55 | 1996 | McNeill
CTF-83 | 22J-t1 | 34.4453 | -80.2518 | Bethune | 420 | Alligator Rural W&S | Well 3 |  | PS | 395 | 360 | 8 |  |  | 211 | 348 | 1995 | 6 | 350 | 1995 | E, G, C | 1 | 1 | C | 135 | 1995 | McCall Brothers
CTF-84 | 18I-e1 | 34.5763 | -79.9856 | Cash | 245 | Sand Hills CCA Wilderness Camp |  |  | PS | 336 | 215 | 6 |  |  | 130 | 210 | 1996 | 9 | 40 | 1996 | E, G | 1 | 1 | C | 67 | 1996 | Professional Pump & Well
CTF-85 | 19I-i2 | 34.564 | -80.029 | Patrick | 230 | Town of Patrick |  |  | PS | 110 | 107 | 6 |  |  |  |  | 1989 |  | 80 | 1989 |  | 0 | 0 |  |  |  | Carolina Wells | Engineer: Keistler (Rock Hill)
CTF-86 | 21G-h1 | 34.7202 | -80.2045 | Ruby | 470 | Chesterfield Rural Water | Ruby No. 1 |  | UNU | 500 | 500 | 8 |  | 110 |  |  | 1997 | 7 | 100 | 1997 |  | 1 | 1 | P | 135 | 1997 | McNeill
CTF-87 | 21G-h2 | 34.7274 | -80.2128 | Ruby | 480 | Chesterfield Rural Water | Ruby No. 2 |  | UNU | 420 | 420 | 8 |  | 114 |  |  | 1997 | 7 | 150 | 1997 |  | 1 | 1 | P | 70 | 1997 | McNeill
CTF-88 | 21J-q1 | 34.447 | -80.2175 | Lake Robinson | 395 | Alligator Rural W&S | Well 4 | McBee, 3 miles SE | PS | 428 | 333 | 12 |  |  | 165 | 328 | 2001 | 3 | 600 | 2001 | E, G | 1 | 1 | C | 110 | 2001 | McNeill
CTF-89 | 22J-x1 | 34.4344 | -80.2976 | Bethune | 280 | Alligator Rural W&S | Well 5 | McBee, 3 miles SW | PS | 260 | 240 | 12 |  |  | 120 | 236 | 2001 | 5 | 913 | 2001 | E, G | 1 | 1 | C | 33 | 2001 | McNeill
CTF-90 | 21I-y3 | 34.5046 | -80.2459 | Middendorf | 510 | McLeod Farms |  | McBee, 3 miles N | IRR | 359 | 359 | 8 |  |  | 220 | 353 | 2001 | 4 | 400 | 2002 | E, G | 1 | 0 |  | 184 | 2002 | AAA Well Drilling
CTF-91 | 23F-u2 | 34.7565 | -80.3401 | Hornsboro |  | Thomas Louallen |  | Pageland, 2 1/2 miles SE | DOM | 205 | 205 | 6 |  | 95 |  |  | 2003 | 6 | 100 | 2003 |  | 1 | 0 |  | 30 | 2003 | Rorie
CTF-92 | 24G-s1 | 34.6918 | -80.4359 | Jefferson |  | Edna Wilson |  | Jefferson, 4 miles NW | DOM | 165 | 165 | 6 |  | 28 |  |  | 1987 | 3 | 80 | 1987 |  | 0 | 0 |  | 30 | 1987 | Wiggins
CTF-93 | 22G-s1 | 34.696 | -80.2776 | Jefferson NE |  | Olin Steen |  | Mt. Groghan, 6 miles SW | DOM | 225 | 225 | 6 |  | 146 |  |  | 1989 | 10 | 100 | 1989 |  | 1 | 0 |  | 45 | 1989 | Rorie
CTF-94 | 23G-r1 | 34.6918 | -80.3803 | Jefferson |  | Thomas Carvoo |  | Jefferson, 3 miles N | DOM | 125 | 125 | 6 |  | 53 |  |  | 1989 | 12 | 50 | 1989 |  | 1 | 0 |  | 15 | 1989 | Rorie
CTF-95 | 23G-j1 | 34.7252 | -80.3428 | Jefferson NE |  | Calvin Sims |  | Pageland, 4 1/2 miles SE | DOM | 125 | 125 | 6 | 4 | 65 |  |  | 1989 | 10 | 50 | 1989 |  | 1 | 0 |  | 20 | 1989 | Rorie
CTF-96 | 24G-a1 | 34.7377 | -80.4206 | Jefferson |  | John Proce |  | Pageland, 3 miles SW | DOM | 205 | 205 | 6 |  | 62 |  |  | 1989 | 10 | 75 | 1989 |  | 1 | 0 |  | 15 | 1989 | Rorie
CTF-97 | 23G-g1 | 34.7196 | -80.3845 | Jefferson |  | Joe Truesdale |  | Pageland, 4 miles S | DOM | 125 | 125 | 6 |  | 30 |  |  | 1990 | 3 | 50 | 1990 |  | 1 | 0 |  | 20 | 1990 | Rorie
CTF-98 | 24G-j1 | 34.7182 | -80.429 | Jefferson |  | Ethel Baker |  | Pageland, 4 1/2 miles SSE | DOM | 125 | 125 | 6 | 4 | 65 |  |  | 1992 | 7 | 100 | 1992 |  | 1 | 0 |  | 20 | 1992 | Rorie
CTF-99 | 21G-q1 | 34.689 | -80.2276 | Ruby |  | Tony Cassidy |  | Ruby, 5 miles SW | DOM | 125 | 125 | 6 |  | 43 |  |  | 1993 | 5 | 100 | 1993 |  | 1 | 0 |  | 15 | 1993 | Rorie
CTF-100 | 24G-l1 | 34.7085 | -80.4442 | Jefferson |  | Gary Cartlett |  | Pageland, 5 1/4 miles SSW | DOM | 125 | 125 | 6 |  | 57 |  |  | 1993 | 6 | 100 | 1993 |  | 1 | 0 |  | 10 | 1993 | Rorie
CTF-101 | 17H-m2 | 34.6307 | -79.8776 | Cheraw |  | Franklin Hendley |  | Cheraw, 5 miles S | DOM | 150 | 145 | 8 | 4 |  | 117 | 145 | 1999 | 10 | 16 | 1999 |  | 1 | 0 |  | 5 | 1999 | Professional Pump & Well | Lat/long approximated.
CTF-102 | 17H-m3 | 34.6182 | -79.8706 | Society Hill |  | William Keith |  | Cheraw, 6 miles S | DOM | 185 | 180 | 8 | 4 |  | 140 | 180 | 1999 | 11 | 25 | 1999 |  | 1 | 0 |  | 7 | 1999 | Professional Pump & Well | Lat/long approximated.
CTF-103 | 24G-i1 | 34.721 | -80.4359 | Jefferson |  | Freddie Plyler |  | Pageland, 5 miles SW | DOM | 185 | 185 | 6 |  | 50 |  |  | 2000 | 5 | 200 | 2000 |  | 1 | 0 |  | 25 | 2000 | Rorie
CTF-104 | 21J-s2 | 34.4404 | -80.1929 | Lake Robinson | 400 | McLeod Farms |  | McBee, 4 1/4 miles SE | IRR | 220 | 220 | 8 |  |  | 200 | 220 | 2000 | 3 | 300 | 2000 |  | 1 | 0 |  | 140 | 2000 | Woodham
CTF-105 | 23F-r1 | 34.7793 | -80.3681 | Hornsboro |  | Doug Rorie |  | Pageland | DOM | 285 | 285 | 6 |  | 55 |  |  | 2003 | 4 | 100 | 2003 |  | 1 | 0 |  | 30 | 2003 | Rorie
CTF-106 | 21J-e2 | 34.4907 | -80.2475 | Lake Robinson | 480 | Alligator Rural W&S | Well 6 |  | PS | 350 | 303 | 12 |  |  | 260 | 300 | 2002 | 8 | 500 | 2002 | E, G | 1 | 1 | C | 172 | 2002 | McNeill
CTF-107 | 22J-m1 | 34.4363 | -80.2944 | Bethune | 360 | Alligator Rural W&S | Well 7 |  | PS | 280 | 267 | 12 |  |  | 120 | 262 | 2002 | 9 | 900 | 2002 | E, G | 1 | 1 | C | 53 | 2002 | McNeill
CTF-108 | 21J-m2 | 34.4517 | -80.2076 | Lake Robinson | 430 | Alligator Rural W&S | Well 8 |  | PS | 360 | 346 | 12 |  |  | 220 | 340 | 2003 | 1 | 600 | 2003 | E, G | 1 | 1 | C | 152 | 2003 | McNeill
CTF-109 | 21J-n1 | 34.4585 | -80.2206 | Lake Robinson | 425 | McLeod Farms |  | McBee, 2 miles ESE | IRR | 339 | 339 | 8 |  |  | 250 | 337 | 2002 | 4 | 500 | 2002 |  | 1 | 0 |  | 142 | 2002 | AAA Well Drilling
CTF-110 | 21J-e3 | 34.4974 | -80.2442 | Lake Robinson | 495 | McLeod Farms |  | McBee, 2 miles NNE | IRR | 337 | 337 | 8 |  |  | 192 | 332 | 2002 | 4 | 300 | 2002 |  | 1 | 0 |  | 169 | 2002 | AAA Well Drilling
CTF-111 | 21H-j1 | 34.6482 | -80.1792 | Ruby |  | Michael Stallings |  | Chesterfield, 9 miles SW | DOM | 405 | 405 | 6 |  | 90 |  |  | 2003 | 12 | 25 | 2003 |  | 1 | 0 |  |  |  | Rorie
CTF-112 | 24G-u1 | 34.6765 | -80.4192 | Jefferson |  | William Wilkerson |  | Jefferson, 2 1/2 miles NW | DOM | 445 | 445 | 6 | 4 | 100 |  |  | 1999 | 9 | 50 | 1999 |  | 1 | 0 |  | 40 | 1999 | Rorie
CTF-113 | 23H-e1 | 34.6585 | -80.4081 | Jefferson |  | Luke Raley |  | Jefferson, 1 mile NW | DOM | 145 | 145 | 6 |  | 91 |  |  | 1993 | 1 | 100 | 1993 |  | 1 | 0 |  | 15 | 1993 | Rorie
CTF-114 | 22G-t1 | 34.6863 | -80.2512 | Jefferson NE |  | Paul Mullis |  | Mt. Groghan, 6 1/2 miles SW | DOM | 195 | 195 | 6 |  | 105 |  |  | 1990 | 7 | 75 | 1990 |  | 1 | 0 |  | 20 | 1990 | Rorie
CTF-115 | 23F-i1 | 34.8029 | -80.3637 | Hornsboro |  | Jim Anderson |  | Pageland, 3 miles NE | DOM | 165 | 165 | 6 |  | 50 |  |  | 1990 | 11 | 75 | 1990 |  | 1 | 0 |  | 18 | 1990 | Rorie
CTF-116 | 22G-r1 | 34.6877 | -80.2837 | Jefferson NE |  | R & D Trucking |  | Ruby, 7 miles SW | DOM | 185 | 185 | 6 |  | 102 |  |  | 1990 | 7 | 100 | 1990 |  | 1 | 0 |  | 30 | 1990 | Rorie
CTF-117 | 21G-f1 | 34.721 | -80.2428 | Ruby |  | Charles Baker |  | Ruby, 4 miles SW | DOM | 175 | 175 | 6 |  | 110 |  |  | 1990 | 11 | 100 | 1990 |  | 0 | 0 |  | 26 | 1990 | Rorie
CTF-118 | 19F-x1 | 34.7654 | -80.0503 | Morven West |  | Robert Oakley, Jr. |  | Chesterfield, 3 miles NE | DOM | 125 | 125 | 6 |  | 60 |  |  | 1991 | 4 | 50 | 1991 |  | 1 | 0 |  | 20 | 1991 | Rorie
CTF-119 | 22G-j1 | 34.726 | -80.2501 | Jefferson NE |  | Joel Mills |  | Ruby, 4 miles SW | IRR | 165 | 165 | 6 |  | 112 |  |  | 2003 | 11 | 50 | 2003 |  | 1 | 0 |  | 37 | 2003 | Rorie
CTF-120 | 21G-x1 | 34.6793 | -80.2176 | Ruby |  | Randy Hancock |  | Ruby, 5 miles SSW | DOM | 145 | 145 | 6 |  | 82 |  |  | 2003 | 3 | 50 | 2003 |  | 1 | 0 |  | 25
CTF-121 | 23G-e1 | 34.7418 | -80.4081 | Jefferson |  | Rick Atkinson |  | Pageland, 2 1/2 miles S | IRR | 665 | 665 | 6 |  | 50 |  |  | 2002 | 10 | 104 | 2002 |  | 1 | 0 |  | 20 | 2002 | Rorie
CTF-122 | 23H-a2 | 34.6502 | -80.3415 | Jefferson NE |  | Jimmy King |  | Jefferson, 2 1/2 miles E | DOM | 165 | 165 | 6 |  | 83 |  |  | 2002 | 7 | 100 | 2002 |  | 1 | 0 |  | 20 | 2002 | Rorie
CTF-123 | 23G-g3 | 34.7252 | -80.3831 | Jefferson |  | Joe Marze |  | Pageland, 3 1/2 miles S | DOM | 210 | 210 | 6 |  | 30 |  |  | 1991 | 4 | 100 | 1991 |  | 1 | 0 |  | 20 | 1991 | Rorie
CTF-124 | 23G-i1 | 34.7252 | -80.354 | Jefferson NE |  | Cattie Marshall |  | Pageland, 4 miles SE | DOM | 125 | 125 | 6 |  | 55 |  |  | 1992 | 7 | 50 | 1992 |  | 1 | 0 |  | 30 | 1992 | Rorie
CTF-125 | 23H-d5 | 34.6585 | -80.3873 | Jefferson |  | M. L. Morrison |  | Jefferson | DOM | 165 | 165 | 6 |  | 120 |  |  | 1992 | 1 | 50 | 1992 |  | 1 | 0 |  | 30 | 1992 | Rorie
CTF-126 | 23G-c1 | 34.7488 | -80.372 | Jefferson NE |  | Randy Atkinson |  | Pageland, 2 miles SE | DOM | 105 | 105 | 6 |  | 70 |  |  | 1991 | 10 | 100 | 1991 |  | 1 | 0 |  | 15 | 1991 | Rorie
CTF-127 | 24G-v1 | 34.6807 | -80.4345 | Jefferson |  | James Miles |  | Jefferson, 2 1/2 miles NW | DOM | 125 | 125 | 6 |  | 35 |  |  | 1991 | 9 | 100 | 1991 |  | 1 | 0 |  | 20 | 1991 | Rorie
CTF-128 | 23G-w1 | 34.6752 | -80.379 | Jefferson |  | Brent Hough |  | Jefferson, 1 1/2 miles N | DOM | 145 | 145 | 6 |  | 92 |  |  | 1992 | 2 | 100 | 1992 |  | 1 | 0 |  | 30 | 1992 | Rorie
CTF-129 | 24F-j2 | 34.8071 | -80.4192 | Pageland |  | Craven Hurst |  | Pageland, 2 miles NW | DOM | 125 | 125 | 6 |  | 50 |  |  | 1992 | 2 | 100 | 1992 |  | 1 | 0 |  | 10 | 1992 | Rorie
CTF-130 | 21G-i1 | 34.721 | -80.1901 | Ruby |  | L. C. Atkinson |  | Ruby, 1 3/4 miles S | DOM | 145 | 145 | 6 |  | 93 |  |  | 1993 | 9 | 100 | 1993 |  | 1 | 0 |  | 25 | 1993 | Rorie
CTF-131 | 23H-a1 | 34.6585 | -80.3345 | Jefferson NE |  | Jeff McCarn |  | Jefferson, 3 1/4 miles E | DOM | 235 | 235 | 6 |  | 148 |  |  | 1993 | 12 | 100 | 1993 |  | 1 | 0 |  | 30 | 1993 | Rorie
CTF-132 | 21F-k1 | 34.789 | -80.1667 | Mount Croghan |  | William Tisdale |  | Mt. Croghan, 3 1/2 miles ENE | DOM | 85 | 85 | 6 |  | 28 |  |  | 1993 | 8 | 100 | 1993 |  | 1 | 0 |  | 30 | 1993 | Rorie
CTF-133 | 22I-e1 | 34.5751 | -80.322 | Angelus |  | Gertie Ponds |  | Jefferson, 7 miles SE | DOM | 145 | 145 | 6 |  | 70 |  |  | 1993 | 8 | 50 | 1993 |  | 1 | 0 |  | 35 | 1993 | Rorie
CTF-134 | 23F-t1 | 34.7793 | -80.3456 | Hornsboro |  | Mitchell Evans |  | Pageland, 2 3/4 miles E | DOM | 165 | 165 | 6 |  | 20 |  |  | 1993 | 11 | 100 | 1993 |  | 1 | 0 |  | 65 | 1993 | Rorie
CTF-135 | 23G-p1 | 34.6946 | -80.4109 | Jefferson |  | Paul Williams |  | Jefferson, 3 1/4 miles NNW | DOM | 145 | 145 | 6 |  | 62 |  |  | 1993 | 11 | 50 | 1993 |  | 1 | 0 |  | 30 | 1993 | Rorie
CTF-136 | 24H-j1 | 34.6432 | -80.4304 | Jefferson |  | B. J. Hilton |  | Jefferson, 2 1/2 miles W | DOM | 145 | 145 | 6 |  | 90 |  |  | 1993 | 9 | 55 | 1993 |  | 1 | 0 |  | 30 | 1993 | Rorie
CTF-137 | 21G-q2 | 34.6918 | -80.229 | Ruby |  | Margaret Jones |  | Ruby, 5 miles SW | DOM | 115 | 115 | 6 |  | 53 |  |  | 1993 | 11 | 100 | 1993 |  | 1 | 0 |  | 10 | 1993 | Rorie
CTF-138 | 20F-o1 | 34.7904 | -80.1623 | Mount Croghan |  | William Gibson |  | Mt. Croghan, 4 miles ENE | DOM | 105 | 105 | 6 |  | 38 |  |  | 1988 | 7 | 50 | 1988 |  | 0 | 0 |  | 45 | 1988 | Rorie
CTF-139 | 22I-f1 | 34.5665 | -80.3304 | Angelus |  | Heyward Kennedy |  | Jefferson, 7 1/2 miles SSE | DOM | 125 | 125 | 6 |  | 45 |  |  | 1986 | 9 | 100 | 1986 |  | 0 | 0 |  | 20 | 1986 | Wiggins
CTF-140 | 22G-n1 | 34.7043 | -80.3151 | Jefferson NE |  | Phil Sings |  | Jefferson, 6 miles NE | DOM | 145 | 145 | 6 |  | 93 |  |  | 1988 | 12 | 100 | 1988 |  | 1 | 0 |  | 25 | 1988 | Rorie
CTF-141 | 23F-v1 | 34.7621 | -80.3553 | Hornsboro |  | Camelot MHP |  | Pageland, 2 miles ESE | PS | 145 | 145 | 6 |  | 84 |  |  | 1988 | 9 | 20 | 1988 |  | 1 | 0 | P | 15 | 1988 | Rorie
CTF-142 | 23F-u1 | 34.7557 | -80.3415 | Hornsboro |  | Liza Chambers |  | Pageland, 3 miles ESE | DOM | 125 | 125 | 6 |  | 89 |  |  | 1990 | 6 | 50 | 1990 |  | 1 | 0 |  | 30 | 1990 | Rorie
CTF-143 | 23G-o1 | 34.7154 | -80.4081 | Jefferson |  | White Plains CC |  | Pageland, 4 miles S | IRR | 175 | 175 | 6 |  | 44 |  |  | 1986 | 7 | 75 | 1986 |  | 0 | 0 |  | 2 | 1986 | Wiggins | Location approximated.
CTF-144 | 23F-g1 | 34.8099 | -80.3995 | Pageland |  | State Line MHP |  | Pageland, 3 miles NNW | PS | 245 | 245 | 6 |  | 93 |  |  | 1990 | 6 |  |  |  | 1 | 0 | P | 20 | 1990 | Rorie | Reported potential yield of 60 gpm.
CTF-145 | 23G-g2 | 34.7252 | -80.3873 | Jefferson |  | Bill Sowell |  | Pageland, 4 miles S | DOM | 145 | 145 | 6 |  | 25 |  |  | 1987 | 7 | 100 | 1987 |  | 0 | 0 |  | 20 | 1987 | Rorie
CTF-146 | 24G-k1 | 34.7099 | -80.429 | Jefferson |  | GRC Mobile Homes |  | Pageland, 5 miles SW | DOM | 145 | 145 | 6 |  | 78 |  |  | 1993 | 7 | 50 | 1993 |  | 0 | 0 |  | 30 | 1993 | Rorie
CTF-147 | 23G-w2 | 34.671 | -80.379 | Jefferson |  | Jay Frank Miller |  | Jefferson, 1 1/2 miles NE | DOM | 265 | 265 | 6 |  | 73 |  |  | 1986 | 7 | 50 | 1986 |  | 0 | 0 |  | 40 | 1986 | Wiggins
CTF-148 | 22H-y2 | 34.5988 | -80.3234 | Angelus |  | Johnny Robertson |  | Angelus | STK | 465 | 465 | 6 |  | 100 |  |  | 1986 | 12 | 30 | 1986 |  | 0 | 0 |  | 35 | 1986 | Wiggins
CTF-149 | 23G-j2 | 34.7279 | -80.3456 | Jefferson NE |  | Stephen Plyler |  | Pageland, 5 miles SE | DOM | 225 | 225 | 6 |  | 25 |  |  | 2002 | 7 | 200 | 2002 |  | 1 | 0 |  | 30 | 2002 | Rorie
CTF-150 | 24G-j2 | 34.7321 | -80.4206 | Jefferson |  | Lyde Rollings |  | Pageland, 3 1/2 miles SW | DOM | 185 | 185 | 6 |  | 37 |  |  | 2002 | 7 | 200 | 2002 |  | 1 | 0 |  | 20 | 2002 | Rorie
CTF-151 | 20I-u1 | 34.5085 | -80.0915 | Patrick |  | Brian Riffe |  | Patrick, 5 miles SW | DOM |  | 147 | 4 |  |  | 127 | 147 | 2004 | 1 | 30 | 2004 |  | 0 | 0 |  | 95 | 2004 | Adams
CTF-152 | 18G-v1 | 34.6777 | -79.9445 | Cheraw | 183 | Johnny Hickey |  | County Roads 68 and 122 | DOM | 144 | 135 | 4 |  |  | 110 | 130 | 2003 | 9 | 16 | 2003 |  | 1 | 0 |  | 74 | 2008 | Laws
CTF-153 | 19G-r1 | 34.6946 | -80.0456 | Chesterfield |  | James Rivers |  | Chesterfield, 4 miles SE | DOM | 205 | 205 | 6 |  | 157 |  |  | 2003 | 7 | 10 | 2003 |  | 1 | 0 |  | 15 | 2003 | Carolina
CTF-154 | 20F-u1 | 34.7538 | -80.0903 | Morven West |  | Molly Rose |  | Chesterfield, 1 1/4 miles N | DOM | 705 | 705 | 6 |  | 24 |  |  | 2003 | 5 | 1 | 2003 |  | 1 | 0 |  | 10 | 2003 | Rorie
CTF-155 | 20G-i1 | 34.7268 | -80.1003 | Chesterfield |  | Jerry Lewis |  | Chesterfield, 1 mile SW | IRR | 185 | 185 | 6 |  | 85 |  |  | 2003 | 1 | 10 | 2003 |  | 1 | 0 |  | 15 | 2003 | Rorie
CTF-156 | 19H-m1 | 34.6238 | -80.0415 | Patrick |  | Christie Williams |  | Patrick, 3 1/2 miles NNE | DOM | 80 | 80 | 4 |  |  | 70 | 80 | 2002 | 5 | 10 | 2002 |  | 1 | 0 |  | 35 | 2002 | Gainey
CTF-157 | 19H-n1 | 34.6238 | -80.0581 | Patrick |  | Ralph Crenshaw |  | Patrick, 3 1/2 miles NNW | DOM | 72 | 72 | 4 |  |  | 52 | 72 | 2002 | 1 | 10 | 2002 |  | 1 | 0 |  | 31 | 2002 | Gainey
CTF-158 | 21J-v2 | 34.4329 | -80.1837 | Lake Robinson | 360 | McLeod Farms |  | McBee, 3 3/4 miles SE | IRR | 350 | 347 | 8 |  |  | 190 | 340 | 2003 | 9 | 300 | 2003 |  | 1 | 0 |  | 83 | 2003 | AAA Well Drilling
CTF-159 | 21J-s3 | 34.4376 | -80.1915 | Lake Robinson | 400 | McLeod Farms |  | McBee, 4 1/2 miles SE | IRR | 340 | 338 | 8 |  |  | 197 | 322 | 2003 | 10 | 500 | 2003 |  | 1 | 0 |  | 135 | 2003 | AAA Well Drilling
CTF-160 | 21G-c1 | 34.7377 | -80.204 | Ruby |  | Johnny Davis |  | Ruby, 1 miles WSW | DOM | 125 | 125 | 6 |  | 90 |  |  | 1999 | 10 | 100 | 1999 |  | 1 | 0 |  | 20 | 1999 | Rorie
CTF-161 | 23H-c1 | 34.6665 | -80.3803 | Jefferson |  | Country Homes MHP |  | Pageland, 1 mile NNE | PS | 425 | 425 | 6 |  | 65 |  |  | 1986 | 10 | 35 | 1986 |  | 1 | 0 | P | 25 | 1986 | Wiggins
CTF-162 | 23H-c2 | 34.6663 | -80.3806 | Jefferson |  | Country Homes MHP |  | Pageland, 1 mile NNE | PS | 305 | 305 | 6 |  | 45 |  |  | 1986 | 10 | 75 | 1986 |  | 1 | 0 | P | 25 | 1986 | Wiggins
CTF-163 | 22I-u1 | 34.5085 | -80.2554 | Angelus |  | McLeod Farms |  | McBee, 2 3/4 miles N | PS | 235 | 235 | 4 |  |  | 225 | 235 | 1993 | 9 | 25 | 1993 |  | 1 | 0 | C | 180 | 1993 | Woodham
CTF-164 | 21G-c2 | 34.734 | -80.2012 | Ruby |  | Goforth MHP |  | Ruby, 1 1/2 miles SW | PS | 305 | 305 | 6 |  | 127 |  |  | 1998 | 2 | 16 | 1998 |  | 1 | 0 | P | 50 | 1998 | Rorie
CTF-165 | 23F-f1 | 34.8085 | -80.4001 | Pageland |  | 601 Trailer Park |  | Pageland, 2 1/2 miles NNW | PS | 245 | 245 | 6 | 4 | 155 | 60 | 75 | 1991 | 7 | 18 | 1991 |  | 1 | 0 | P | 20 | 1991 | Rorie | Well is both screened and open-hole.
CTF-166 | 23F-y1 | 34.7599 | -80.404 | Pageland |  | Westside Estates Apts. | Main well | Pageland, 1 1/4 miles SW | PS | 205 | 205 | 6 |  | 30 |  |  | 1988 | 6 | 152 | 1988 |  | 1 | 0 |  | 15 | 1988 | Rorie | Radiochemical analysis.
CTF-167 | 23F-y2 | 34.7599 | -80.404 | Pageland |  | Westside Estates Apts. | Backup well | Pageland, 1 1/4 miles SW | PS | 285 | 285 | 6 |  | 32 |  |  | 1988 | 6 | 71 | 1988 |  | 1 | 0 |  | 20 | 1988 | Rorie | See radiochem. analysis for CTF-166.
CTF-168 | 23G-j3 | 34.7196 | -80.3456 | Jefferson NE |  | Plum Tree Estates Apts. |  | Pageland, 4 1/2 miles SE | PS | 320 | 320 | 6 |  | 65 |  |  | 1995 | 10 | 11 | 1995 |  | 1 | 0 |  | 35 | 1995 | Rorie
CTF-169 | 18I-j1 | 34.5665 | -79.9248 | Cash |  | H. C. Black Recreation Area |  | Patrick, 7 miles E | PS | 145 | 142 | 6 |  |  | 130 | 142 | 1995 | 3 | 25 | 1995 |  | 1 | 0 | P | 80 | 1995 | Woodham
CTF-170 | 24F-u1 | 34.7543 | -80.4165 | Pageland |  | Richard Bragg |  | Pageland, 1 1/4 miles SW | PS | 265 | 265 | 6 |  | 74 |  |  | 2001 | 1 | 45 | 2001 |  | 1 | 0 |  | 15 | 2001 | Rorie
CTF-171 | 24F-l1 | 34.7835 | -80.4442 | Pageland |  | Dudley Bapt. Church |  | Pageland, 3 miles WNW | PS | 305 | 305 | 6 |  | 36 |  |  | 2000 | 2 | 4 | 2000 |  | 1 | 0 |  | 30 | 2000 | Rorie
CTF-172 | 23H-h1 | 34.634 | -80.3748 | Jefferson |  | Fork Creek Meth. Church |  | Jefferson, 1 1/2 miles SE | PS | 365 | 365 | 6 |  | 90 |  |  | 2000 | 5 | 2 | 2000 |  | 1 | 0 |  | 40 | 2000 | Rorie
CTF-173 | 24G-a2 | 34.7418 | -80.429 | Jefferson |  | Micky Plyler Trucking |  | Pageland, 3 miles SW | PS | 245 | 245 | 6 |  | 60 |  |  | 1999 | 5 | 60 | 1999 |  | 1 | 0 |  | 30 | 1999 | Rorie
CTF-174 | 24F-j1 | 34.8154 | -80.4187 | Pageland |  | Barry Helms Chevrolet |  | Pageland, 2 1/2 miles NW | PS | 205 | 205 | 6 |  | 110 |  |  | 1999 | 9 | 10 | 1999 |  | 1 | 0 |  | 35 | 1999 | Rorie
CTF-175 | 23G-n1 | 34.7127 | -80.3928 | Jefferson |  | B & M Grocery |  | Patrick, 4 miles S | DES | 125 | 125 | 6 |  | 83 |  |  | 1997 | 1 | 50 | 1997 |  | 1 | 0 |  | 20 | 1997 | Rorie
CTF-176 | 22K-a1 | 34.4085 | -80.2581 | Bethune |  | Floyd Farm |  | McBee, 4 1/2 miles S | IRR | 40 | 40 | 4 |  |  | 25 | 40 | 2004 | 5 | 100 | 2004 |  | 1 | 0 |  | 10 | 2004 | Woodham | Location estimated.
CTF-177 | 23G-n2 | 34.7127 | -80.3915 | Jefferson |  | H. G. Reynolds Co. |  | Jefferson | PS | 345 | 345 | 6 |  | 70 |  |  | 2001 | 9 | 30 | 2001 |  | 1 | 0 |  | 55 | 2001 | Rorie
CTF-178 | 21F-u1 | 34.7563 | -80.1676 | Mount Croghan | 320 | Randy Mills |  | Mt. Croghan, 3 3/4 miles ESE | DOM | 125 | 125 | 6 |  | 32 |  |  | 2004 | 10 | 100 | 2004 |  | 1 | 1 |  | 18 | 2004 | Rorie
CTF-179 | 22J-j6 | 34.4676 | -80.2579 | Bethune | 465 | Town of McBee |  | Sixth Street | PS | 360 | 345 | 12 |  |  | 205 | 340 | 2004 | 12 | 610 | 2004 | E, G | 1 | 0 | C | 173 | 2004 | McNeill | Replacement for CTF-55.
CTF-180 | 23F-y3 | 34.7532 | -80.4153 | Pageland |  | A & E Real Estate |  | Pageland, 1 3/4 miles SSW | DOM | 325 | 325 | 6 |  | 38 |  |  | 2005 | 7 | 75 | 2005 |  | 1 | 0 |  | 35 | 2005 | Rorie
CTF-181 | 21G-c3 | 34.744 | -80.2112 | Ruby |  | Mitchell Broome |  | Ruby, 1 1/2 miles W | IRR | 165 | 165 | 6 |  | 107 |  |  | 2005 | 12 | 100 | 2005 |  | 1 | 0 |  | 35 | 2005 | Rorie
CTF-182 | 23G-q1 | 34.6921 | -80.392 | Jefferson |  | Freddie Faile |  | Jefferson, 2 1/2 miles N | IRR | 265 | 265 | 6 |  | 70 |  |  | 2006 | 5 | 100 | 2006 |  | 1 | 0 |  | 105 | 2006 | Rorie
CTF-183 | 21I-y4 | 34.5126 | -80.247 | Middendorf |  | McLeod Farms |  | McBee, 3 miles NNE | IRR | 241 | 241 | 8 |  |  | 191 | 241 | 2007 | 2 | 300 | 2007 |  | 1 | 0 |  | 171 | 2007 | AAA Well Drilling
CTF-184 | 23G-e2 | 34.7493 | -80.4051 | Jefferson |  | Catherine Williams |  | Pageland, 2 miles SSW | IRR | 205 | 205 | 6 | 4 | 125 | 60 | 65 | 2008 | 2 | 100 | 2008 |  | 1 | 0 |  | 40 | 2008 | Rorie | Screened and open-hole.
CTF-185 | 24F-u2 | 34.7504 | -80.4278 | Pageland |  | Paul Tomberlin |  | Pageland, 2 1/2 miles SW | DOM | 245 | 245 | 6 |  | 93 |  |  | 2008 | 2 | 100 | 2008 |  | 1 | 0 |  | 35 | 2008 | Rorie
CTF-186 | 22G-x1 | 34.6729 | -80.3151 | Jefferson NE |  | Larry Sowell |  | Mt. Croghan | DOM |  | 74 | 4 |  |  | 64 | 74 | 2004 | 3 | 5 | 2004 |  | 0 | 0 |  | 50 | 2008
CTF-187 | 22H-m1 | 34.6249 | -80.2865 | Angelus |  | John Gray |  | Mt. Croghan | DOM |  | 90 | 4 |  |  | 70 | 90 | 2003 | 4 | 10 | 2003 |  | 0 | 0 |  | 38 | 2008 | Sutton
CTF-188 | 22H-c1 | 34.6618 | -80.2865 | Jefferson NE |  | James Hatchcock |  | Mt. Croghan | DOM |  | 90 | 4 |  |  | 65 | 90 | 2007 | 8 | 10 | 2007 |  | 0 | 0 |  | 45 | 2008 | Sutton
CTF-189 | 22I-r1 | 34.5181 | -80.2894 | Angelus |  | William Paitchard |  | McBee | DOM |  | 90 | 6 |  |  | 50 | 85 | 2005 | 7 | 20 | 2005 |  | 0 | 0 |  | 14 | 2008 | Professional Pump & Well
CTF-190 | 22H-e1 | 34.6568 | -80.3298 | Jefferson |  | Warren Johnson |  | Jefferson | DOM |  | 92 | 4 |  |  | 72 | 92 | 2002 | 9 | 7 | 2002 |  | 0 | 0 |  | 71 | 2008 | Sutton
CTF-191 | 23G-i2 | 34.7232 | -80.3556 | Jefferson NE |  | Eagle Springs Water Co. |  | Pageland |  |  | 59 | 4 |  |  | 39 | 59 | 2005 | 7 | 20 | 2005 |  | 0 | 0 |  | 34 | 2008 | Sutton
CTF-192 | 22G-n2 | 34.7093 | -80.3123 | Jefferson NE |  | Donna Bullock |  | Mt. Croghan | DOM |  | 50 | 4 |  |  | 42 | 50 | 1999 | 4 | 8 | 1999 |  | 0 | 0 |  | 9 | 2008 | Sutton | Possibly the same well as CTF-293.
CTF-193 | 18G-r1 | 34.6865 | -79.9506 | Cheraw |  | Douglas Marze |  | Cheraw | DOM |  | 52 | 4 |  |  | 30 | 52 | 2007 | 2 | 10 | 2007 |  | 0 | 0 |  | 37 | 2008 | Sutton | Possibly the same well as CTF-307.
CTF-194 | 18G-e1 | 34.7393 | -79.9995 | Cheraw |  | Brent Teal |  | Chesterfield | DOM |  | 80 | 4 |  |  | 60 | 80 | 2007 | 1 | 8 | 2007 |  | 0 | 0 |  | 48 | 2008 | Gainey
CTF-196 | 18H-m4 | 34.6318 | -79.9548 | Cheraw |  | Larry Freeman |  | Cheraw | DOM |  | 122 | 4 |  |  | 100 | 122 | 2004 | 7 | 17 | 2004 |  | 0 | 0 |  | 16 | 2008 | Sutton
CTF-197 | 22H-b1 | 34.6521 | -80.279 | Jefferson NE |  | Carolina Sandhills National Wildlife Ref. |  |  |  |  | 130 | 2 |  |  | 100 | 130 | 2008 | 2 |  |  |  | 0 | 0 |  | 123 | 2008 | Palmetto
CTF-198 | 22J-x2 | 34.4257 | -80.3037 | Bethune |  | Alligator Rural W&S | Well 9 | McBee, 4 miles SW | PS | 308 | 245 | 12 |  |  | 140 | 240 | 2007 | 10 | 1100 | 2007 | E, G | 1 | 1 | C | 58 | 2007 | McNeill
CTF-211 | 21I-x1 | 34.5065 | -80.2181 | Middendorf |  | U.S. Fish & Wildlife Service |  | McBee, 3 miles NE | OBS | [12 empty] | 0 | 0 |  |  |  |  | USGS has WL monitor installed (6/2010).
CTF-212 | 21I-d1 | 34.5799 | -80.2315 | Middendorf | [17 empty] | 0 | 0
CTF-213 | 20J-h1 | 34.4671 | -80.1284 | Lake Robinson | [17 empty] | 0 | 0
CTF-214 | 20I-u2 | 34.5104 | -80.0981 | Patrick | [17 empty] | 0 | 0
CTF-219 | 21J-g1 | 34.4779 | -80.2306 | Lake Robinson |  | Alligator Rural W&S | Well 10 | McBee, 1 1/2 miles NE | PS | 357 | 352 | 12 |  |  | 175 | 347 | 2007 | 1 | 650 | 2007 |  | 1 | 1 | C | 115 | 2007 | McNeill | Six screened zones.
CTF-220 | 23F-g2 | 34.8079 | -80.3956 | Pageland |  | Ryan Nicholson |  | Pageland, 2 1/2 miles NNW | IRR | 305 | 305 | 6 |  | 43 |  |  | 2008 | 5 | 100 | 2008 |  | 1 | 0 |  | 40 | 2008 | Rorie
CTF-221 | 22J-v1 | 34.4288 | -80.2828 | Bethune | 409 | SCDNR |  | McBee, 2 1/2 miles SSW | OBS | 405 | 260 | 4 |  |  | 235 | 255 | 2008 | 6 |  |  | E, G | 0 | 0 |  | 143 | 2021 | Austin | See CTF-321 for lithologic info.
CTF-222 | 22J-v2 | 34.4287 | -80.2828 | Bethune | 409 | SCDNR |  | McBee, 2 1/2 miles SSW | OBS | 175 | 175 | 4 |  |  | 150 | 170 | 2008 | 6 |  |  | C | 0 | 0 |  | 124 | 2021 | Austin
CTF-223 | 24G-m1 | 34.7071 | -80.4604 | Jefferson |  | Buckhorn Materials |  | Jefferson, 6 miles NW | IRR | 305 | 305 | 6 |  | 39 |  |  | 2008 | 6 | 100 | 2008 |  | 1 | 0 |  | 60 | 2008 | Rorie
CTF-224 | 22J-a1 | 34.4918 | -80.2648 | Bethune |  | Sandhills State Forest | MW-1 | McBee, 1 mile NNW | OBS | 228 | 228 | 2 |  |  | 210 | 220 | 2008 | 3 |  |  |  | 1 | 0 | C
CTF-225 | 22J-a2 | 34.4871 | -80.2606 | Bethune |  | Sandhills State Forest | MW-2 | McBee, 1 mile NNW | OBS | 177 | 177 | 2 |  |  | 150 | 160 | 2008 | 3 |  |  |  | 1 | 0 | C
CTF-226 | 22J-b1 | 34.4871 | -80.2676 | Bethune |  | Sandhills State Forest | MW-3 | McBee, 1 mile NNW | OBS | 117 | 117 | 2 |  |  | 100 | 110 | 2008 | 3 |  |  |  | 1 | 0 | C
CTF-227 | 22J-a3 | 34.4851 | -80.2662 | Bethune |  | Sandhills State Forest | MW-4 | McBee, 1 mile NNW | OBS | 57 | 57 | 2 |  |  | 47 | 57 | 2008 | 3 |  |  |  | 1 | 0 | C
CTF-228 | 21J-g2 | 34.4749 | -80.222 | Lake Robinson |  | USGS |  | McBee, 2 miles ENE | TEST |  | 336 | 4 |  |  |  |  | 2010 | 9 |  |  | E, G | 0 | 0 |  | 160 | 2011 | McCall Brothers
CTF-229 | 22J-i1 | 34.4814 | -80.2772 | Bethune |  |  | W-2 |  | OBS | [12 empty] | 0 | 0
CTF-230 | 22J-i2 | 34.4813 | -80.2777 | Bethune |  |  | W-1 |  | OBS | [12 empty] | 0 | 0
CTF-231 | 22J-i3 | 34.4817 | -80.2771 | Bethune |  |  | W-3 |  | OBS | [12 empty] | 0 | 0
CTF-232 | 22J-b2 | 34.4836 | -80.272 | Bethune |  |  | W-5 |  | OBS | [12 empty] | 0 | 0
CTF-233 | 22J-b3 | 34.4834 | -80.2724 | Bethune |  |  | W-4 |  | OBS | [12 empty] | 0 | 0
CTF-234 | 22J-i4 | 34.4766 | -80.2782 | Bethune |  |  | W-8 |  | OBS | [12 empty] | 0 | 0
CTF-235 | 22J-i5 | 34.4771 | -80.2798 | Bethune |  |  | P-12 |  | OBS | [12 empty] | 0 | 0
CTF-236 | 22J-i6 | 34.4771 | -80.2791 | Bethune |  |  | P-13 |  | OBS | [12 empty] | 0 | 0
CTF-237 | 22J-i7 | 34.4765 | -80.278 | Bethune |  |  | P-15 |  | OBS | [12 empty] | 0 | 0
CTF-238 | 22J-i8 | 34.4764 | -80.2787 | Bethune |  |  | P-14 |  | OBS | [12 empty] | 0 | 0
CTF-239 | 22J-i9 | 34.4762 | -80.2778 | Bethune |  |  | W-9 |  | OBS | [12 empty] | 0 | 0
CTF-240 | 22J-i10 | 34.4762 | -80.2776 | Bethune |  |  | P-18 |  | OBS | [12 empty] | 0 | 0
CTF-241 | 22J-i11 | 34.4768 | -80.2777 | Bethune |  |  | P-17 |  | OBS | [12 empty] | 0 | 0
CTF-242 | 22J-i12 | 34.4765 | -80.2766 | Bethune |  |  | P-19 |  | OBS | [12 empty] | 0 | 0
CTF-243 | 22J-i13 | 34.4783 | -80.276 | Bethune |  |  | W-7 |  | OBS | [12 empty] | 0 | 0
CTF-244 | 22J-i14 | 34.4802 | -80.2802 | Bethune |  |  | P-3 |  | OBS | [12 empty] | 0 | 0
CTF-245 | 22J-i15 | 34.4812 | -80.2801 | Bethune |  |  | P-2 |  | OBS | [12 empty] | 0 | 0
CTF-246 | 22J-i16 | 34.4799 | -80.2805 | Bethune |  |  | P-1 |  | OBS | [12 empty] | 0 | 0
CTF-247 | 22J-i17 | 34.4827 | -80.2789 | Bethune |  |  | P-20 |  | OBS | [12 empty] | 0 | 0
CTF-248 | 22J-i18 | 34.482 | -80.278 | Bethune |  |  | P-5 |  | OBS | [12 empty] | 0 | 0
CTF-249 | 22J-i19 | 34.4816 | -80.278 | Bethune |  |  | P-6 |  | OBS | [12 empty] | 0 | 0
CTF-250 | 22J-i20 | 34.4807 | -80.2773 | Bethune |  |  | P8 |  | OBS | [12 empty] | 0 | 0
CTF-251 | 22J-b4 | 34.4843 | -80.272 | Bethune |  |  | W-6 |  | OBS | [12 empty] | 0 | 0
CTF-252 | 22J-b5 | 34.4842 | -80.2724 | Bethune |  |  | P-10 |  | OBS | [12 empty] | 0 | 0
CTF-253 | 22J-b6 | 34.4844 | -80.2692 | Bethune |  |  | P-9 |  | OBS | [12 empty] | 0 | 0
CTF-254 | 22J-i21 | 34.4809 | -80.2751 | Bethune |  |  | P-7 |  | OBS | [12 empty] | 0 | 0
CTF-255 | 20J-k1 | 34.4663 | -80.0973 | Hartsville North | 437 | Allen Taniburine |  |  | IRR |  | 155 | 4 |  |  | 135 | 155 | 2004 | 9 | 27 | 2004 |  | 0 | 0 |  | 120 | 2004 | Adams
CTF-256 | 20H-f1 | 34.6343 | -80.1498 | Ruby | 275 | Michael Kaltwang |  |  | DOM | 305 | 305 | 6 |  |  | 102 | 112 | 2004 | 9 | 3 | 2004 |  | 1 | 0 |  | 35 | 2004 | Rorie
CTF-257 | 22J-j7 | 34.4782 | -80.2581 | Bethune | 485 | Bob Weir |  |  | DOM |  | 241 | 4 |  |  | 221 | 241 | 2004 | 9 | 26 | 2004 |  | 0 | 0 |  | 175 | 2004 | Adams
CTF-258 | 20J-n1 | 34.4538 | -80.1409 | Lake Robinson | 272 | Herbert Roos |  |  | IRR | 58 | 58 | 4 |  |  | 38 | 58 | 2004 | 9 |  |  |  | 1 | 0 |  | 35 | 2004 | Sutton
CTF-259 | 20I-b1 | 34.5779 | -80.1003 | Patrick | 336 | Margaret Caulder |  |  | DOM | 130 | 130 | 2 |  |  | 110 | 130 | 2004 | 6 | 4 | 2004 |  | 1 | 0 |  | 100 | 2004 | Gainey
CTF-260 | 20I-u3 | 34.5113 | -80.099 | Patrick | 442 | David Collins |  |  | DOM | 150 | 150 | 4 |  |  | 130 | 150 | 2004 | 8 | 15 | 2004 |  | 1 | 0 |  | 130 | 2004 | Sutton
CTF-261 | 21J-e4 | 34.4943 | -80.2429 | Lake Robinson | 484 | McLeod Farms |  |  | DOM | 180 | 180 | 4 |  |  | 160 | 180 | 2004 | 5 | 15 | 2004 |  | 1 | 0 |  | 165 | 2004 | Woodham
CTF-262 | 22G-b1 | 34.7488 | -80.269 | Jefferson NE | 481 | William Self |  |  | DOM | 83 | 83 | 4 |  |  | 72 | 83 | 2004 | 3 | 8 | 2004 |  | 1 | 0 |  | 42 | 2004 | Sutton
CTF-263 | 22H-c2 | 34.6568 | -80.2981 | Jefferson NE | 474 | Dubie Sowell |  |  | DOM | 74 | 74 | 4 |  |  | 64 | 74 | 2004 | 3 | 5 | 2004 |  | 1 | 0 |  | 38 | 2004 | Sutton
CTF-264 | 24G-i2 | 34.7171 | -80.4351 | Jefferson | 581 | Penny Gurganious |  |  | DOM | 165 | 165 | 6 |  |  | 42 | 62 | 2004 | 3 | 8 | 2004 |  | 1 | 0 |  | 25 | 2004 | Rorie
CTF-265 | 17H-d1 | 34.6521 | -79.8987 | Cheraw | 120 | Floyd Quick |  |  | IRR | 113 | 113 | 4 |  |  | 93 | 113 | 2004 | 3 | 18 | 2004 |  | 1 | 0 |  | 50 | 2004 | Gainey
CTF-266 | 20H-y1 | 34.5946 | -80.1612 | Middendorf | 303 | Dalphine Micheal |  |  | DOM | 58 | 58 | 4 |  |  | 48 | 58 | 2002 | 11 | 3 | 2002 |  | 1 | 0 |  | 30 | 2002 | Sutton
CTF-267 | 18G-r2 | 34.6979 | -79.9659 | Cheraw | 178 | Timothy Wright |  |  | DOM | 59 | 59 | 2 |  |  | 51 | 59 | 2002 | 6 | 4 | 2002 |  | 1 | 0 |  | 25 | 2002 | Sutton
CTF-268 | 18I-k1 | 34.5404 | -79.9242 | Cash | 225 | Toney Greeman |  |  | DOM | 65 | 65 | 2 |  |  | 50 | 65 | 2002 | 2 | 10 | 2002 |  | 1 | 0 |  | 37 | 2002 | Sutton
CTF-269 | 18G-u3 | 34.6793 | -79.9267 | Cheraw | 186 | Danny Lee |  |  | DOM | 48 | 48 | 4 |  |  | 36 | 48 | 2004 | 8 | 15 | 2004 |  | 1 | 0 |  | 15 | 2004 | Sutton
CTF-270 | 22J-l1 | 34.4654 | -80.2692 | Bethune | 405 | Tony Mason |  |  | DOM | 130 | 130 | 4 |  |  | 120 | 130 | 2004 | 5 | 22 | 2004 |  | 1 | 0 |  | 110 | 2004 | Woodham
CTF-271 | 22H-n1 | 34.6207 | -80.3028 | Angelus | 407 | Kendrick Blakeley |  |  | DOM | 48 | 48 | 4 |  |  | 34 | 48 | 2004 | 7 | 6 | 2004 |  | 1 | 0 |  | 25 | 2004 | Sutton
CTF-272 | 18I-u1 | 34.5027 | -79.9226 | Cash | 127 | Kelli Cross |  |  | DOM | 60 | 60 | 4 |  |  | 50 | 60 | 2004 | 7 | 7 | 2004 |  | 1 | 0 |  | 22 | 2004 | Gainey
CTF-273 | 22I-f2 | 34.5631 | -80.3252 | Angelus | 331 | Harvey Miller |  |  | DOM | 48 | 48 | 4 |  |  | 35 | 48 | 2000 | 7 | 8 | 2000 |  | 1 | 0 |  | 26 | 2000 | Sutton
CTF-274 | 18G-t1 | 34.6938 | -79.9287 | Cheraw | 175 | Cornelius Simpson |  |  | DOM | 62 | 62 | 4 |  |  | 42 | 62 | 2003 | 12 | 9 | 2003 |  | 1 | 0 |  | 36 | 2003 | Sutton
CTF-275 | 20I-b2 | 34.5763 | -80.1003 | Patrick | 327 | Dennis Childers |  |  | DOM | 77 | 77 | 4 |  |  | 53 | 77 | 2005 | 2 | 12 | 2005 |  | 1 | 0 |  | 30 | 2005 | Sutton
CTF-276 | 19H-y1 | 34.5904 | -80.0784 | Patrick | 300 | Joyce Carter |  |  | DOM | 68 | 68 | 4 |  |  | 48 | 68 | 2002 | 9 | 10 | 2002 |  | 1 | 0 |  | 27 | 2002 | Sutton
CTF-277 | 22H-e2 | 34.6588 | -80.3309 | Jefferson NE | 506 | Angela Hartfield |  |  | DOM | 92 | 92 | 4 |  |  | 72 | 72 | 2002 | 9 | 7 | 2002 |  | 1 | 0 |  | 60 | 2002 | Sutton
CTF-278 | 23G-i3 | 34.7168 | -80.3542 | Jefferson NE | 525 | Joyce Copper |  |  | DOM | 58 | 58 | 4 |  |  | 40 | 58 | 2002 | 7 | 6 | 2002 |  | 1 | 0 |  | 32 | 2002 | Sutton
CTF-279 | 21J-n2 | 34.4582 | -80.2301 | Lake Robinson | 395 | Tim Jordan |  |  | DOM |  | 178 | 4 |  |  | 158 | 178 | 2002 | 9 | 27 | 2002 |  | 0 | 0 |  | 96 | 2002 | Adams
CTF-280 | 20J-n2 | 34.4629 | -80.1406 | Lake Robinson | 280 | Robert Beasley |  |  | DOM |  | 157 | 4 |  |  | 137 | 157 | 2002 | 10 | 33 | 2002 |  | 0 | 0 |  | 65 | 2002 | Adams
CTF-281 | 22J-j8 | 34.471 | -80.2604 | Bethune | 462 | Judy Tiller |  |  | IRR |  | 200 | 4 |  |  | 180 | 200 | 2005 | 4 | 22 | 2005 |  | 0 | 0 |  | 140 | 2005 | Adams
CTF-282 | 22I-r2 | 34.5189 | -80.2933 | Angelus | 320 | [5 empty] | 90 | 6 |  |  | 50 | 85 | 2005 | 7 | 20 | 2005 |  | 0 | 0 |  | 14 | 2005
CTF-283 | 23I-a1 | 34.5701 | -80.334 | Angelus | 329 | James Miller |  |  | IRR | 54 | 54 | 4 |  |  | 40 | 54 | 2005 | 7 | 6 | 2005 |  | 1 | 0 |  | 40 | 2005 | Sutton
CTF-284 | 19G-w1 | 34.6696 | -80.0448 | Chesterfield | 176 | Ernest Ashe |  |  | DOM | 49 | 49 | 4 |  |  | 43 | 49 | 2001 | 10 | 10 | 2001 |  | 1 | 0 |  | 24 | 2001 | Sutton
CTF-285 | 18G-e2 | 34.7377 | -79.9981 | Cheraw | 276 | Dennis Cassidy |  |  | DOM | 90 | 90 | 4 |  |  | 79 | 90 | 2004 | 2 | 7 | 2004 |  | 1 | 0 |  | 45 | 2004 | Gainey
CTF-286 | 22J-k1 | 34.4546 | -80.2629 | Bethune | 450 | Robert Horton |  |  | DOM | 135 | 135 | 4 |  |  | 115 | 135 | 2003 | 10 | 25 | 2003 |  | 0 | 0 |  | 125 | 2003 | Adams
CTF-287 | 17G-f1 | 34.7243 | -79.9153 | Cheraw | 159 | John Funderburke |  |  | DOM | 40 | 40 | 4 |  |  | 30 | 40 | 2003 | 11 | 5 | 2003 |  | 1 | 0 |  | 12 | 2003 | Gainey
CTF-288 | 19G-j1 | 34.7252 | -80.0003 | Chesterfield | 228 | Nancy White |  |  | DOM | 85 | 85 | 4 |  |  | 65 | 85 | 2003 | 11 | 5 | 2003 |  | 1 | 0 |  | 55 | 2003 | Gainey
CTF-289 | 22H-l1 | 34.6179 | -80.2698 | Angelus | 491 | Johnny Starnes |  |  | DOM | 90 | 90 | 4 |  |  | 70 | 90 | 2002 | 3 | 10 | 2002 |  | 1 | 0 |  | 62 | 2002 | Sutton
CTF-290 | 17G-o1 | 34.7046 | -79.909 | Cheraw | 156 | Scott Eddins |  |  | DOM | 35 | 35 | 4 |  |  | 25 | 35 | 1999 | 6 | 20 | 1999 |  | 1 | 0 |  | 12 | 1999 | Gainey
CTF-291 | 17H-g1 | 34.6465 | -79.8856 | Cheraw | 143 | Rodger Fisher |  |  | DOM | 135 | 135 | 4 |  |  | 115 | 135 | 1999 | 6 | 20 | 1999 |  | 1 | 0 |  | 60 | 1999 | Gainey
CTF-292 | 17H-h1 | 34.6429 | -79.8815 | Cheraw | 148 | Barney Summer |  |  | DOM | 50 | 50 | 4 |  |  | 40 | 50 | 1999 | 5 | 20 | 1999 |  | 1 | 0 |  | 20 | 1999 | Gainey
CTF-293 | 22G-n3 | 34.711 | -80.3128 | Jefferson NE | 506 | Donna Bullock |  |  | DOM | 50 | 50 | 4 |  |  | 42 | 50 | 1999 | 4 | 8 | 1999 |  | 1 | 0 |  | 27 | 1999 | Sutton | Possibly the same well as CTF-192.
CTF-294 | 18H-b1 | 34.6543 | -79.9445 | Cheraw | 193 | Joe Shipley |  |  | IRR | 100 | 100 | 4 |  |  | 90 | 100 | 2003 | 4 | 6 | 2003 |  | 1 | 0 |  | 50 | 2003 | Sutton
CTF-295 | 22G-v1 | 34.6668 | -80.2665 | Jefferson NE | 404 | John Tarleton |  |  | DOM | 50 | 50 | 4 |  |  | 37 | 50 | 1999 | 5 | 7 | 1999 |  | 1 | 0 |  | 28 | 1999 | Sutton
CTF-296 | 20H-p1 | 34.6038 | -80.1523 | Middendorf | 376 | Vennie Smith |  |  | DOM | 75 | 75 | 4 |  |  | 60 | 75 | 2002 | 4 | 10 | 2002 |  | 1 | 0 |  | 46 | 2002 | Sutton
CTF-297 | 17G-y1 | 34.6793 | -79.9159 | Cheraw | 179 | Samuel Sott |  |  | IRR | 45 | 45 | 4 |  |  | 35 | 45 | 2008 | 1 | 10 | 2008 |  | 1 | 0 |  | 14 | 2008 | Gainey
CTF-298 | 22G-r2 | 34.6893 | -80.2848 | Jefferson NE | 433 | Tommy Hathcock |  |  | DOM | 90 | 90 | 4 |  |  | 65 | 90 | 2007 | 8 | 10 | 2007 |  | 1 | 0 |  | 44 | 2007 | Sutton
CTF-299 | 22K-i1 | 34.3863 | -80.2765 | Bethune | 299 | Chris Floyd |  |  | DOM | 143 | 143 | 4 |  |  | 123 | 143 | 2007 | 9 | 20 | 2007 |  | 1 | 0 |  | 90 | 2007 | Sutton
CTF-300 | 22G-s2 | 34.691 | -80.2826 | Jefferson NE | 434 | Francis Funderburke |  |  | DOM | 80 | 80 | 4 |  |  | 54 | 80 | 2007 | 9 | 8 | 2007 |  | 1 | 0 |  | 29 | 2007 | Sutton
CTF-301 | 19G-j2 | 34.7307 | -80.0026 | Chesterfield | 210 | Jeffery White |  |  | DOM | 80 | 80 | 4 |  |  | 60 | 80 | 2007 | 10 | 15 | 2007 |  | 1 | 0 |  | 50 | 2007 | Gainey
CTF-302 | 21J-t1 | 34.4488 | -80.1715 | Lake Robinson | 301 | Sara Rivers |  |  | DOM |  | 90 | 4 |  |  | 70 | 90 | 2007 | 10 | 30 | 2007 |  | 0 | 0 |  | 39 | 2007 | Adams
CTF-303 | 17I-c1 | 34.5743 | -79.8801 | Cash | 199 | Lessie Linton |  |  | DOM | 43 | 43 | 2 |  |  | 33 | 43 | 2007 | 10 | 4 | 2007 |  | 1 | 0 |  | 26 | 2007 | Sutton
CTF-304 | 22H-g1 | 34.6335 | -80.2998 | Jefferson NE | 368 | Reese Donahue |  |  | DOM | 77 | 77 | 4 |  |  | 37 | 77 | 2007 | 11 | 5 | 2007 |  | 1 | 0 |  | 28 | 2007 | Sutton
CTF-305 | 19G-j3 | 34.7288 | -80.0003 | Chesterfield | 226 |  |  |  |  | 80 | 80 |  |  |  | 60 | 80 | 2007 | 1 | 8 | 2007 |  | 0 | 0 |  | 52 | 2007 |  | No record. Info from USGS.
CTF-306 | 18I-c1 | 34.5804 | -79.9565 | Cash | 297 | Rick Robbin |  |  | DOM |  | 107 | 4 |  |  | 87 | 107 | 2007 | 2 | 20 | 2007 |  | 0 | 0 |  | 58 | 2007 | Adams
CTF-307 | 18G-v2 | 34.6832 | -79.9398 | Cheraw | 187 | Douglas Marze |  |  | DOM | 52 | 52 | 4 |  |  | 30 | 52 | 2007 | 2 | 10 | 2007 |  | 1 | 0 |  | 26 | 2007 | Sutton | Possibly the same well as CTF-193.
CTF-308 | 19H-o1 | 34.6246 | -80.067 | Patrick | 220 | Robert Davis |  |  | DOM | 58 | 58 | 4 |  |  | 36 | 58 | 2007 | 3 | 7 | 2007 |  | 1 | 0 |  | 35 | 2007 | Sutton
CTF-309 | 19H-n2 | 34.6193 | -80.0628 | Patrick | 227 | Jimmy Lonewolf |  |  | DOM | 54 | 54 | 4 |  |  | 34 | 54 | 2007 | 6 | 15 | 2007 |  | 1 | 0 |  | 30 | 2007 | Gainey
CTF-310 | 20J-a1 | 34.4968 | -80.0837 | Hartsville North | 342 | Kenneth Winfam |  |  | DOM |  | 125 | 4 |  |  | 105 | 125 | 2007 | 4 | 28 | 2007 |  | 0 | 0 |  | 89 | 2007 | Adams
CTF-311 | 22G-v2 | 34.6668 | -80.2695 | Jefferson NE | 451 | Candy Parker |  |  | DOM | 78 | 78 | 4 |  |  | 63 | 78 | 2002 | 9 | 10 | 2002 |  | 1 | 0 |  | 44 | 2002 | Sutton
CTF-312 | 19G-j4 | 34.7168 | -80.0012 | Chesterfield | 218 | Anthony McManus |  |  | DOM | 91 | 91 | 4 |  |  | 71 | 91 | 2002 | 10 | 10 | 2002 |  | 1 | 0 |  | 65 | 2002 | Sutton
CTF-313 | 22J-x3 | 34.4169 | -80.3001 | Bethune | 295 | Alligator Rural W&S | Well 11 | McBee, 4 1/2 miles S | PS | 328 | 271 | 24 | 12 |  | 145 | 265 | 2011 | 4 | 1200 | 2011 | E, G | 1 | 1 | C | 80 | 2011 | McNeill
CTF-314 | 18I-j2 | 34.561 | -79.9278 | Cash | 250 | S.C. Forestry Commission |  | H. C. Black Recreation Area | PS | 245 | 236 | 12 | 6 |  | 180 | 231 | 2001 | 4 |  |  |  | 1 | 1 |  | 80 | 2001 | Professional Pump & Well
CTF-315 | 21I-y5 | 34.5076 | -80.2453 | Middendorf |  | McLeod Farms | Well 3 (at fill tank) |  | IRR | [12 empty] | 0 | 0
CTF-316 | 21JU-e5 | 34.4893 | -80.2454 | Lake Robinson |  | McLeod Farms | at packing shed |  | IRR | [12 empty] | 0 | 0
CTF-318 | 22I-k1 | 34.534 | -80.2578 | Angelus | 468 |  | GW-5 |  |  |  | 139 | 4 |  |  | 99 | 139 | [5 empty] | 0 | 0 |  | 101 | 2011
CTF-319 | 22I-q1 | 34.5199 | -80.3154 | Angelus | 324 |  | TW-10 |  |  |  | 44 | 6 |  |  | 39 | 44 | [5 empty] | 0 | 0 |  | 24 | 2013
CTF-320 | 20I-h1 | 34.5531 | -80.128 | Middendorf | 375 | USGS |  | McBee, 9 miles NE | TEST | 280 | [6 empty] | 2014 | 3 |  |  | G | 0 | 0 |  |  |  | USGS | Corehole. No well made.
CTF-321 | 22J-v3 | 34.429 | -80.2826 | Bethune |  | SCDNR |  | McBee WMA | TEST | 400 | [6 empty] | 2014 | 6 |  |  | E, G | 1 | 0 |  |  |  |  | Corehole. No well made.
CTF-322 | 22I-n1 | 34.5338 | -80.3058 | Angelus | 429 | Brunson Road LLC | DFW-2 | McBee, 4 miles NNW | OBS | 126 | 126 | 6 |  |  | 116 | 126 | 2014 | 8 |  |  |  | 0 | 0 |  | 102 | 2022 | Blake Cabit | USGS ADR well (5/2018).
CTF-323 | 22I-q2 | 34.529 | -80.3114 | Angelus | 426 | Brunson Road LLC | DFW-1 | McBee, 3 1/2 miles NNW | OBS | 125 | 125 | 6 |  |  | 115 | 125 | 2014 | 8 |  |  |  | 0 | 0 |  | 104 | 2022 | Blake Cabit | USGS ADR well (5/2018).
CTF-324 | 22I-q3 | 34.5289 | -80.3113 | Angelus | 425 | Brunson Road LLC | DFW-1s | McBee, 3 1/2 miles NNW | OBS | 57 | 57 | 2 |  |  | 47 | 57 | 2014 | 8 |  |  |  | 0 | 0 |  | 53 | 2022 | Blake Cabit | USGS ADR well (5/2018).
CTF-325 | 17H-f2 | 34.6432 | -79.9117 | Cheraw | 191 | SCDNR |  | Cheraw State Park | OBS | 40 | 40 | 4 |  |  | 20 | 40 | 2019 | 4 | 5 | 2019 | G | 0 | 0 |  | 33 | 2019 | AAA Well Drilling | SCDNR ADR well.
CTF-326 | 21J-f1 | 34.4828 | -80.2486 | Lake Robinson |  | AO Smith Water Products Co. | Well #1 |  | IND |  | 381 | 8 |  |  | 195 | 376 | 2019 | 1 | 600 | 2019 |  | 0 | 0 |  |  |  |  | DHEC: 13IN053G01. No file.
CTF-327 | 17H-f3 | 34.6433 | -79.9114 | Cheraw |  | SCDNR |  | Cheraw State Park | OBS | 170 | 170 | 2 |  |  | 160 | 170 | 2021 | 6 |  |  |  | 0 | 0 |  | 84 | 2021 | AAA Well Drilling | SCDNR ADR well.